## All
Service Logs - Jan' 2019 to Dec' 2019
ticket_no | date | name_of_the_outlet | code | nature_of_complaint | breakdown__ preventive | service_engineer | rectified_on | interruption_of_sales_if_any__time_duration | details_of_work_done
CL176 | 2019-01-04 | Salem | R | PLC and ROV work | Breakdown | Nepolean | 2019-01-04 | - | New ROV replaced & PLC malfunctioning due to servo stabilizer problem and absence of online UPS - Partially Rectified
CL177 | 2019-01-04 | Palladam | C | Stamping Work & Dispenser On/off switch complaint | Certification | Nepolean | 2019-01-05 | - | Stamping completed. A side On/off switch changed & B side nozzle teeth 4nos changed - Rectified - working conditiom normal
CL178 | 2019-01-05 | Vellakovil | D | One side metering unit top LPG leakage problem | Breakdown | Nepolean | 2019-01-06 | - | Seal kit complaint hence new seal kit and new bearing changed - Rectified - working conditiom normal
CL179 | 2019-01-06 | Theni | D | Dispenser Error 39 occurred | Breakdown | Chandrasekar | 2019-01-07 | - | New mother board replaced - Error 39 rectified and kept under observation
CL180 | 2019-01-07 | Theni | D | Mother board Checking | Breakdown | Nepolean | 2019-01-07 | - | Checked. D side two dispensers tested - Testing D side - 17.36 Ltrs
CL181 | 2019-01-08 | Theni | D | Dispenser Error 39 occurred | Breakdown | Nepolean | 2019-01-10 | - | Motherboard reprogramming done & new control panel contactor changed - Dispenser woking normally - Rectified
CL182 | 2019-01-08 | Cantonment | G | Online UPS input power cable problem | Breakdown | Chandrasekar | 2019-01-08 | - | New power cable changed - Rectified
CL183 | 2019-01-08 | Velachery | D | Dispenser 2 hanged | Breakdown | Suneel Sagar | 2019-01-08 | - | Power reset. Rectified - Working condition normal
CL184 | 2019-01-11 | Cantonment | T | Unloading truck earthing cable corroded | Breakdown | Chandrasekar | 2019-01-11 | - | Cable cleaned and new legs changed - Rectified
CL185 | 2019-01-13 | Saravanampatty | R | Turbo Drive board complaint | Breakdown | Prakash & Prabu | 2019-01-13 | - | New Board changed - Rectified
CL186 | 2019-01-13 | Mettupalayam | T | Unloading motor abnormal sound | Breakdown | Prakash & Prabu | 2019-01-13 | - | Bolt and nut adjusted in the Bypass valve - Rectified
CL187 | 2019-01-15 | Theni | D | Dispenser Error 39 occurred & compressor Auto mode not working | Breakdown | Nepolean | 2019-01-16 | - | Mother board New software installation done - Pump running normally.A spare mother board with installed software is given and compressor serviced by service Engineer, now Auto mode working normally - Rectified
CL188 | 2019-01-16 | Dindigul | D | A side dispenser not working due to Temperature Box complaint | Breakdown | Nepolean | 2019-01-16 | - | Temperature box has to be replaced. Due to unavailable of that, Pulser supply line directed - A side dispenser working normally - Temperature box fitted on 21-01-2019
CL189 | 2019-01-17 | Ariyamangalam | D | B side nozzle teeth complaint | Breakdown | Nepolean | 2019-01-17 | - | New service nozzle changed - Rectified
CL190 | 2019-01-19 | Ariyamangalam | D | Nozzle servicing and testing | Preventive | Nepolean | 2019-01-19 | - | A side and D side - 2 nozzles serviced and tested
CL191 | 2019-01-19 | T.V. Kovil | D | B side nozzle complaint | Breakdown | Prabu | 2019-01-19 | - | Spare nozzle changed and old nozzle serviced - Working condition normal - Rectified - Testing 3.08 Ltrs
CL192 | 2019-01-20 | Dharapuram | D | LPG flow cut off problem | Breakdown | Nepolean | 2019-01-21 | - | R4 relay mxo 22E and MCB 6Amps UPS input new one no changed - Working conditon normal
CL193 | 2019-01-21 | Attur | D | Dispenser one side not functioning due to Metering unit problem | Breakdown | Prakash | 2019-01-21 | - | Metering unit bearing replaced - Rectified
CL194 | 2019-01-21 | Vellakovil | D | Dispenser nozzle low flow & slow delivery | Breakdown | Nepolean | 2019-01-22 | - | High flow and Low flow valve cleaned - Working contion normal - Rectified
CL195 | 2019-01-22 | T.V. Kovil | A | Online connect power board USB cable problem | Breakdown | Prabu | 2019-01-22 | - | New cable changed.Working condition normal.
CL196 | 2019-01-23 | T.V. Kovil | D | Yenen dispenser C side keyboard is not working | Breakdown | Prabu | 2019-01-23 | - | New keyboard changed - Rectified
CL197 | 2019-01-23 | Tirunelveli | D | Dispenser Error occurred | Breakdown | Nepolean | 2019-01-24 | - | New software installed - Working condition normal - Kept under observation
CL198 | 2019-01-24 | Rasipuram | D | FRL unit lubricant glass broken | Breakdown | Prakash & Prabu | 2019-01-24 | - | Directly connected to FRL unit - No leakage - Rectified
CL199 | 2019-01-24 | Hosur | D | DP Valve diaphragm problem | Breakdown | Prakash & Prabu | 2019-01-25 | - | DP valve diaphragm changed - Working condition normal - Testing - 258.14 Ltrs
CL200 | 2019-01-25 | Vellakovil | D | Dispenser nozzle low flow & slow delivery | Breakdown | Nepolean | 2019-01-26 | - | Metering unit serviced - Bearing and seal kit replaced - Working condition normal - Rectified
CL201 | 2019-01-25 | Krishnagiri | D | DP Valve diaphragm problem | Breakdown | Prakash & Prabu | 2019-01-25 | - | DP valve diaphragm changed - Working condition normal.
CL202 | 2019-01-25 | Velachery | D | B side point jumping complaint | Breakdown | Suneel Sagar | 2019-01-25 | - | Dp valve adjusted and it is under observation.
CL203 | 2019-01-26 | Karur | T | Dispenser nozzle low flow & slow delivery & Pressure Gauge installation | Breakdown | Nepolean | 2019-01-26 | - | High flow and Low flow valve cleaned - Working contion normal and new Pressure gauge installed - Rectified
CL204 | 2019-01-27 | Cantonment | D | Dispensing line air leakage problem | Breakdown | Chandrasekar | 2019-01-27 | - | New air fittings changed - no leakage - Rectified
CL205 | 2019-01-28 | Ariyamangalam | D | A side opw nozzle locked | Breakdown | Nepolean | 2019-01-28 | - | A side service new nozzle one no changed - Rectified
CL206 | 2019-01-28 | Ariyamangalam | D | A side & D side nozzles 2 no servicing | Preventive | Nepolean | 2019-01-28 | - | Serviced and tested
CL207 | 2019-01-29 | Paramathivelur | G | Electrical cable laying work | Preventive | Chandrasekar | 2019-01-30 | - | Cable laying completed and Nitrogen tank tested - Rectified
CL208 | 2019-01-31 | Ariyamangalam | T | LPG leakage - Decanting hose damaged (3m) | Breakdown | Nepolean | 2019-01-31 | - | New decanting hose liquid line and vapor line changed (5m) - Rectified
CL209 | 2019-01-31 | T.V. Kovil | D | A Side dispenser not working | Breakdown | Prabu | 2019-01-31 | - | Gas flow valve adjusted - Testing 5.63 Ltrs - Rectified
CL210 | 2019-02-05 | Mettupalayam | T | Dispensing Vapour return line Ballvalve with ROV - Complaint | Breakdown | Suneel Sagar | 2019-02-05 | - | Dispensing Vapour return line Ballvalve with ROV replaced by new one Now the ROV closing time is 10 sec
CL211 | 2019-02-05 | Chengalpattu | D | Dispensing Vapour return line Ballvalve with ROV - Complaint | Breakdown | Suneel Sagar | 2019-02-05 | - | Dispensing Vapour return line Ballvalve with ROV replaced by new one Now the ROV closing time is 10 sec - Rectified
CL212 | 2019-02-05 | Mettupalayam | G | Unloading Training Process | Preventive | Nepolean | 2019-02-05 | - | Training Completed
CL213 | 2019-02-05 | Avinashi | R | UPS installation work | Preventive | Nepolean | 2019-02-06 | - | 1KW online UPS installed - UPS input Voltage - 231v & Output voltage - 230v
CL214 | 2019-02-06 | Cantonment | R | New Control panel installation | Preventive | Prakash | 2019-02-06 | - | Installed
CL215 | 2019-02-06 | Dindigul | R | UPS installation work | Preventive | Nepolean | 2019-02-07 | - | 1KW online UPS installed - UPS input Voltage - 235v & Output voltage - 230v
CL216 | 2019-02-07 | Dindigul | R | MOL Problem | Breakdown | Nepolean | 2019-02-08 | - | MOL cleared STP running condition normal - Amps 4.26. 4.19. 4.50. - Working condition normal - Rectified
CL217 | 2019-02-08 | T.V. Kovil | D | B side nozzle complaint | Breakdown | Prabu | 2019-02-08 | - | Spare nozzle changed - Working condition normal - Rectified - Testing 1.17 Ltrs
CL218 | 2019-02-08 | Karur | D | Dispenser one side not functioning and another side slow delivery | Breakdown | Nepolean | 2019-02-08 | - | B side Excess flow valve block removed. DP valve and high flow and low flow valves cleaned. A side High flow valve cleaned and nozzle one side serviced - Rectified
CL219 | 2019-02-08 | Ariyamangalam | D | Dispenser C side and D side power chord problem | Breakdown | Prabu | 2019-02-09 | - | Power supply chord serviced - Working condition normal - Rectified
CL220 | 2019-02-09 | karur | D | Dispenser B side not working due to Metering unit inside seal kit damaged | Breakdown | Nepolean | 2019-02-10 | - | B side metering unit inside seak kit changed. DP Valve, High flow and Low flow valves cleaned - Working condition normal - Rectified
CL221 | 2019-02-10 | Vellakovil | D | Dispenser low flow and slow delivery | Breakdown | Prabu | 2019-02-10 | - | High flow and low flow valve cleaned - working condition normal - Rectified
CL222 | 2019-02-11 | T.V. Kovil | C | Rule 19 certfication started | Certification | Prakash | 2019-02-13 | 39 hours 11-02-2019 (8pm) to 13-02-2019 (11am) | Rule 19 work completed. Testing Litres A side 7.33 L B Side 5.67 L C Side 5.95 L D side 5.00 L Total testing 23.95 L
CL223 | 2019-02-14 | Dharapuram | R | Control panel SMPS and PLC problem | Breakdown | Nepolean | 2019-02-14 | - | New PLC and SMPS replaced - Rectified. Servo mode,UPS and Compressor pressure switch problem - informed to the concern person
CL224 | 2019-02-14 | Dindigul | R | MOL Problem | Breakdown | Nepolean | 2019-02-15 | - | MN2 Relay problem so new relay changed and STP working condition normal - Rectified
CL225 | 2019-02-15 | Cantonment | D | Batchen new power supply chord & Yenen dispenser keypad testing | Preventive | Chandrasekar | 2019-02-15 | - | Tested - Working conditon normal
CL226 | 2019-02-16 | T.V. Kovil | T | DPS problem | Breakdown | Prabu | 2019-02-16 | - | Diaphram changed - Working normally - Rectified
CL227 | 2019-02-17 | Theni | R | Control panel Relay - complaint | Breakdown | Nepolean | 2019-02-17 | - | Control panel MNX 18 contactor replaced and relay MN2 newly changed- Rectified
CL228 | 2019-02-17 | Avinashi | D | Dispenser not working & program Key lock switch not working | Breakdown | Prabu | 2019-02-17 | - | Solenoid valve cleaned & program keylock switch changed - Rectified
CL229 | 2019-02-18 | Udumalpet | D | Dispenser one side slow delivery | Breakdown | Chandrasekar | 2019-02-19 | - | Metering unit complaint - New seal kit and bearings changed - Working normally - Rectified
CL230 | 2019-02-18 | T.V. Kovil | D | Dispenser Error 07 and FRL lubricant problem | Breakdown | Prabu | 2019-02-18 | - | Gas flow valve adjusted & FRL filter serviced - Rectified
CL231 | 2019-02-19 | Cantonment | D | Oil dispenser hose leakage | Breakdown | Chandrasekar | 2019-02-20 | - | Hose replaced - N2 air machine and oil dispenser inlet air leakage problem rectified
CL232 | 2019-02-20 | Tirunelveli | D | One side nozzle problem and Decanting side LPG Leakage | Breakdown | Nepolean | 2019-02-21 | - | B side new nozzle one no changed, Decanting pipe line filter cleaned and liquid inlet ballvalve serviced - Rectified
CL233 | 2019-02-22 | T.V. Kovil | D | A side nozzle complaint | Breakdown | Prabu | 2019-02-22 | - | New nozzle changed - Old nozzle serviced - Rectified
CL234 | 2019-02-22 | Cantonment | D | Dispensing solenoid valve air leakage | Breakdown | Chandrasekar | 2019-02-22 | - | New solenoid valve changed - Rectified
CL235 | 2019-02-23 | Renganathan | D | One side nozzle complaint | Breakdown | Prabu | 2019-02-23 | - | Nozzle serviced - Working normally - Rectified
CL236 | 2019-02-25 | Cantonment | D | Yenen dispenser C side nozzle hose leakage | Breakdown | Chandrasekar | 2019-02-25 | - | New nozzle hose changed - Leakage arrested - rectified
CL237 | 2019-02-25 | Cantonment | T | Tank 2 liquid line needle valve LPG leakage | Breakdown | Chandrasekar | 2019-02-25 | - | New needle valve changed - Leakage arrested - Rectified
CL238 | 2019-02-26 | T.V. Kovil | R | FRL unit air leakage | Breakdown | Prabu | 2019-02-26 | - | FRL unit serviced - Leakage arrested - Rectified
CL239 | 2019-02-27 | T.V. Kovil | D | N2 machine - Error 2 occurred | Breakdown | Nepolean | 2019-02-27 | - | Sensor dust cleaned - working normally - Rectified
CL240 | 2019-02-27 | Cantonment | D | Yenan Dispenser keypad - Testing | Preventive | Chandrasekar | 2019-02-27 | - | Checked and Tested - Working Normally
CL241 | 2019-02-27 | T.V. Kovil | D | Error 7 Occurred | Breakdown | Prabu | 2019-02-27 | - | Dispenser parameters changed - Rectified
CL242 | 2019-02-28 | Velachery | D | Monthly preventive maintenance | Preventive | Suneel Sagar | 2019-02-28 | - | Preventive maintenance done by Classic Gases
CL243 | 2019-03-02 | Virudhunagar | T | Tank area earthing work | Preventive | Nepolean | 2019-03-02 | - | Tank earth - GI plate work completed
CL244 | 2019-03-02 | Tirunelveli | D | Dispenser Error 39 occurred | Breakdown | Nepolean | 2019-03-02 | - | Error Arrested - Rectified
CL245 | 2019-03-03 | Dindigul | D | Dispenser Two side not working | Breakdown | Nepolean | 2019-03-03 | - | EB power problem and Relay tripping adjusted - Working normally - Rectified
CL246 | 2019-03-03 | Cantonment | D | B side nozzle stuck up | Breakdown | Chandrasekar | 2019-03-03 | - | Nozzle serviced - Working normally - Rectified
CL247 | 2019-03-03 | T.V. Kovil | D | A side Nozzle complaint | Breakdown | Prabu | 2019-03-03 | - | Nozzle serviced and nozzle trigger changed for spare nozzle - working normally - Rectified
CL248 | 2019-03-06 | Krishnagiri | D | Dispenser abnormal sounding, Air compressor running continuously & dispenser liquid line ROV complaint | Breakdown | Prabu | 2019-03-08 | - | LPG filter cleaned to arrest dispenser abnormal sound. Air compressor newly changed and Dispenser side liquid line ROV with ballvalve newly changed - PMR done - Rectified (CP voltage reading is improper hence informed to pump incharge)
CL249 | 2019-03-08 | Tirunelveli | C | Stamping work | Certification | Nepolean | 2019-03-09 | - | Stamping completed.
CL250 | 2019-03-09 | Virudhunagar | G | Site visit | Preventive | Nepolean | 2019-03-09 | - | Attended
CL251 | 2019-03-09 | Theni | D | LPG low flow and slow delivery | Breakdown | Nepolean | 2019-03-10 | - | High flow low flow valve cleaned - rectifed
CL252 | 2019-03-10 | T.V. Kovil | T | Unloading truck earthing cable corroded | Breakdown | prabu | 2019-03-10 | - | Cleaned and cable legs changed - Unloading Y-Stainer cleaned - Rectified
CL253 | 2019-03-11 | Renganathan | D | Dispenser one side nozzle complaint | Breakdown | Prabu | 2019-03-11 | - | Nozzle serviced and nozzle trigger changed - working normally - Rectified
CL254 | 2019-03-12 | Karur | C | Stamping Work | Certification | Prakash, Chandrasekar & Kathiresan | 2019-03-13 | - | Stamping completed
CL255 | 2019-03-12 | Kangeyam | D | Dispenser slow delivery | Breakdown | Prakash, Chandrasekar & Kathiresan | 2019-03-13 | - | Filter and solenoid valve cleaned - Rectified
CL256 | 2019-03-12 | Avinashi | D | Dispenser slow delivery | Breakdown | Prakash, Chandrasekar & Kathiresan | 2019-03-13 | - | Filter cleaned and bypass valve pressure increased - Rectified
CL257 | 2019-03-12 | Mettupalayam | T | Pumping unit coupling problem | Breakdown | Prakash, Chandrasekar & Kathiresan | 2019-03-13 | - | Coupling Replaced - Rectified
CL258 | 2019-03-14 | T.V. Kovil | D | Dispenser one side not working | Breakdown | Prabu | 2019-03-14 | - | Solenoid valve and coil adjusted - Testing - 0.78L - Working normally - Rectified
CL259 | 2019-03-14 | Velachery | G | Fire extinguisher servicing | Preventive | Nepolean | 2019-03-14 | - | Serviced - Attended
CL260 | 2019-03-14 | Cantonment | D | C side nozzle trigger lock complaint | Breakdown | Chandrasekar | 2019-03-14 | - | Old lock replaced - Rectified
CL261 | 2019-03-15 | Attur | T | Venting line complaint | Breakdown | Prakash & Prabu | 2019-03-15 | - | ROV - 5 nos replaced and vent line problem rectified
CL262 | 2019-03-15 | Cantonment | D | Oil dispenser nozzle leakage | Breakdown | Chandrasekar | 2019-03-15 | - | Nozzle serviced and buzzer changed newly - Rectified
CL263 | 2019-03-19 | Paramathivelur | G | Electrical Work | Preventive | Chandrasekar & Kathiresan | 2019-03-19 | - | Completed
CL264 | 2019-03-19 | Dindigul | D | Dispenser not working | Breakdown | Chandrasekar | 2019-03-19 | - | Dispensing motor return signal could not recognised and CPU fuse changed - A pump one nozzle changed newly - Rectified
CL265 | 2019-03-19 | Tirunelveli | D | Dispenser one side not working & Error 39 occurred | Breakdown | Nepolean | 2019-03-20 | - | Excess flow valve blocked and High flow low flow and DP valve cleaned - Cables reassembled - Error 39 arrested - Rectified
CL266 | 2019-03-20 | Attur | C | Stamping | Certification | Prabu | 2019-03-21 | - | Completed
CL267 | 2019-03-20 | Attur | D | Dispenser slow delivery | Breakdown | Prabu | 2019-03-20 | - | Both side solenoid valved cleaned - Rectified
CL268 | 2019-03-22 | Cantonment | A | Pump D - E.3 Error occurred at Online mode | Breakdown | Chandrasekarr | 2019-03-22 | - | Yenen power MCB switched off and On - Working condition normal - Rectified
CL269 | 2019-03-23 | Sulur | D | One side metering unit problem | Breakdown | Nepolean and Kathiresan | 2019-03-23 | - | Rectified - Working normally
CL270 | 2019-03-23 | Mettupalayam | D | LPG Slow delivery | Breakdown | Nepolean | 2019-03-23 | - | High flow low flow valve cleaned - rectifed
CL271 | 2019-03-23 | T.V. Kovil | D | Nozzle complaint | Breakdown | Prabu | 2019-03-23 | - | Spare nozzle changed - Testing 1.70 L - Rectified
CL272 | 2019-03-26 | Velachery | T | Abnormal Sound from above ground motor | Preventive | Suneel Sagar | 2019-03-26 | - | Above ground motor spider changed
CL273 | 2019-03-26 | Paramathivelur | C | CCOE inspection | Certification | Prakash, Chandrasekar & Kathiresan | Processing | - | Control panel testing completed on 26-03-2019 - Postponed to 03-04-2019
CL274 | 2019-03-26 | Aravakurichi | T | CP installation | Preventive | Prakash | 2019-03-26 | - | Installed
CL275 | 2019-03-26 | Salem | C | Dispenser Stamping | Certification | Prabu | 2019-03-26 | - | Stamping completed
CL276 | 2019-03-26 | Rasipuram | R | FRL unit complaint | Breakdown | Prabu | - | - | Not rectified dueto unavailability of spares
CL277 | 2019-03-26 | Vellakovil | G | Fire extinguisher servicing | Preventive | Nepolean | 2019-03-26 | - | Serviced - Next service date: 25-03-2019
CL278 | 2019-03-27 | T.V. Kovil | D | A side nozzle complaint and Batchen dispenser display cable problem | Breakdown | Prabu | 2019-03-27 | - | Spare nozzle changed and Display cable - Rectified
CL279 | 2019-03-27 | Kangeyam | C | Rule 19 Certification and Pipeline alteration | Certification | Prakash | 2019-03-31 | 27-03-2019 (10 am) to 31-03-2019 (1.30am) | Rule 19 work completed. Tank Testing, dispensing Pump base frame, pipeline and additional dispenser pipeline - Completed
CL280 | 2019-03-29 | Theni | D | Dispenser not working | Breakdown | Prabu | 2019-03-30 | 28-03-2019 (11 pm) to 29-03-2019 (1.30 pm) | Panel board to dispenser air hose changed newly. FRL unit leakage arrested - Rectified
CL281 | 2019-04-01 | Thuraiyur | C | Stamping | Certification | Nepolean | 2019-04-03 | - | Stamping completed and PMR received
CL282 | 2019-04-02 | Ariyamangalam | D | Dispenser nozzle LPG leakage problem | Breakdown | Nepolean | 2019-04-02 | - | Leakage arrested - Rectified
CL283 | 2019-04-02 | Avinashi | R | Control panel contactor complaint | Breakdown | Nepolean | 2019-04-02 | - | Panel is bypassed and dispenser is working - A new contactor has to be changed - Attended
CL284 | 2019-04-02 | T.V. Kovil | D | Dispenser A side nozzle complaint & Oil dispenser servicing | Breakdown | Prabu | 2019-04-02 | - | Spare nozzle changed - Testing 1.25 L & Oil Dispenser nozzle and pump serviced - Rectified
CL285 | 2019-04-02 | Kangeyam | D | Dispenser A side low flow and slow delivery | Breakdown | Nepolean | 2019-04-03 | - | Tank side filter cleaned and mtereing unit problem - Requires an additional dispenser - Attended
CL286 | 2019-04-03 | Dharapuram | D | Dispenser Two side not working | Breakdown | Nepolean | 2019-04-03 | 2 hours | Dispensing motor contactor - relay problem - New relay changed - Rectified
CL287 | 2019-04-03 | T.V. Kovil | R | Yenen dispenser - UPS Connection | Preventive | Prabu | 2019-04-03 | - | UPS connected - Working normally
CL288 | 2019-04-04 | Paramathivelur | T | Product in and Testing | Preventive | Prakash , Chandrasekar & Kathiresan | 2019-04-05 | - | Unloading and commissioning completed. Dispenser Stamping completed. ATG andHLA working normally - Observation by Mr. Kathiresan.
CL289 | 2019-04-04 | T.V. Kovil | D | Dispenser display cable problem | Breakdown | Prabu | 2019-04-04 | - | New cable changed.Working condition normal - Rectified
CL290 | 2019-06-04 | T.V. Kovil | R | FRL unit air leakage | Breakdown | Prabu | 2019-06-04 | - | Spare FRL unit serviced and replaced - Leakage arrested - Rectified
CL291 | 2019-04-09 | Ariyamangalam | D | A side 5m hose problem and D side nozzle on/off switch problem | Breakdown | Nepolean | 2019-04-09 | - | 5m hose and on/off switch replaced newly - rectified
CL292 | 2019-04-10 | Virudhunagar | C | Stamping work | Certification | Nepolean | 2019-04-10 | - | Stamping Completed
CL293 | 2019-04-10 | Rasipuram | D | Dispenser not working | Breakdown | Prabu | 2019-04-11 | (5am to 10.35am) 5.35 hours | Sstabilizer servo mode problem so bypassed and working good. Dispensing motor love jaw coupling newly changed - Rectified
CL294 | 2019-04-10 | Rasipuram | R | Control panel power problem & Dispensing motor love jaw coupling complaint | Breakdown | Chandrasekar | 2019-04-11
CL295 | 2019-04-10 | Ariyamangalam | D | B side nozzle leakage | Breakdown | Chandrasekar | 2019-04-10 | - | Nozzle teeth 4 nos changed - Working fine - Rectified
CL296 | 2019-04-10 | Tirunelveli | D | One side LPG slow delivery & Metering unit problem | Breakdown | Nepolean | 2019-04-11 | - | New bearing and seal kit changed and high flow low flow valves cleaned two times. A side high flow low flow cleaned - Pump both sides working fine - Rectified
CL297 | 2019-04-11 | Ariyamangalam | D | Dispenser nozzle leakage | Breakdown | Prabu | 2019-04-11 | - | Nozzle teeth 2 nos changed - Working fine - Rectified
CL298 | 2019-04-13 | Theni | R | DG - Earth is not proper, Online UPS is not functioning, Compressor Problem and A side nozzle 5m Hose damaged | Breakdown | Nepolean | 2019-04-13 | (1pm to 3pm) 2 hours | DG - Earth line to be observed,Online UPS line bypassed, Nozzle hose replaced with new one, Nozzle teeth 4 nos changed - Working fine - Rectified
CL299 | 2019-04-13 | Palladam | D | Batchen dispenser B side display not working | Breakdown | Nepolean | 2019-04-13 | - | CableProblem - Rectified
CL300 | 2019-04-14 | Dindigul | D | Dispenser not working | Breakdown | Chandrasekar | 2019-04-15 | 3.45 Hours | Dispenser mother board hanging - Rectifed
CL301 | 2019-04-16 | Ariyamangalam | D | Additional dispenser Emergency switch problem | Breakdown | Nepolean | 2019-04-16 | - | Emergency Switch Replaced - Rectified
CL302 | 2019-04-18 | Cantonment | D | C side nozzle complaint | Breakdown | Chandrasekar | 2019-04-17 | - | New nozzle 4 nos changed - Rectfied
CL303 | 2019-04-21 | T.V. Kovil | D | Batchen Dispenser one side not working | Breakdown | Prabu | 2019-04-21 | - | Solenoid valve and coil adjusted - Working normally - Rectified
CL304 | 2019-04-21 | T.V. Kovil | D | A side nozzle leakage | Breakdown | Prabu | 2019-04-21 | - | Spare Nozzle changed - Testing 2.44 L - Rectified
CL305 | 2019-04-22 | Thuraiyur | R | FRL unit filter with regulator problem | Breakdown | Kathiresan | 2019-04-22 | - | FRL unit Serviced - Rectified.
CL306 | 2019-04-23 | Dindigul | T | Unloading process not working | Breakdown | Chandrasekar | 2019-04-23 | - | Unloading motor over load relay tripping problem - Rectified
CL307 | 2019-04-23 | Cantonment | D | Oil dispenser - Air filter with regulator unit bowl leakage | Breakdown | Kathiresan | 2019-04-23 | - | Repaired unit is replaced with the new unit - Rectified
CL308 | 2019-04-24 | Udumalpet | T | STP chamber LPG leakage problem | Breakdown | Chandrasekar & Kathiresan | 2019-04-24 | - | STP chamber bolt & nut tightened and Grease applied in unloading pump - Rectified
CL309 | 2019-04-24 | Ariyamangalam | D | A side on / off switch complaint | Breakdown | Nepolean | 2019-04-24 | - | On/Off switch replaced with new one - Rectified
CL310 | 2019-04-24 | Paramathivelur | D | While dispensing, the hoses oscillates and nozzle vibrates more than the normal condition. | Breakdown | Krishnabhalaji | 2019-04-24 | - | Adjusted the dispenser input LPG liquid valve and shuts down the flow of LPG by 1/4th of its full capacity. Now its hoses and the nozzles vibrates and oscillates as normal.
CL311 | 2019-04-25 | Cantonment | D | D nozzle new hose changing for testing purpose | Preventive | Chandrasekar | 2019-04-25 | - | Hose changed and tested -Testing 0.86Ltrs - Attended
CL312 | 2019-04-26 | Karur | D | Dispenser nozzle complaint - Nozzle O Ring and teeth damaged | Breakdown | Chandrasekar & Kathiresan | 2019-04-27 | - | Serviced - Rectified - spare nozzle serviced.
CL313 | 2019-04-29 | Ariyamangalam | T | Rochester Gauge needle no movement | Breakdown | Nepolean | 2019-04-29 | - | Adjusted - Gauge started working - Rectified temporarily.
CL314 | 2019-05-02 | Mettupalayam | T | Pumping unit shaft replacement & Control panel testing | Breakdown | Prakash, Suneel Sagar, Chandrasekar & Kathiresan | 2019-05-03 | - | Shaft replacement done and dispenser working fine - Rectified & Control panel testing completed
CL315 | 2019-05-02 | Thuraiyur | A | Automation Cable Laying & Dispenser side connection | Preventive | Prabu | 2019-02-05 | - | Cable laying and Dispenser side connection completed - Attended
CL316 | 2019-05-04 | Cantonment | T | Tank 1 - Liquid line ROV LPG leakage | Breakdown | Nepolean | 2019-05-04 | - | Rov tightened - Leakage arrested
CL317 | 2019-05-04 | Tirunelveli | T | Tank 1 - DPS problem | Breakdown | Nepolean | 2019-05-05 | - | Teflon Bush Replaced - Rectified
CL318 | 2019-05-07 | Dindigul | D | One side not working | Breakdown | Chandrasekar & Kathiresan | 2019-05-07 | 4.30 hours | Temperature box complaint and line is directed - Working fine -Rectified
CL319 | 2019-05-07 | Ariyamangalam | D | D side OPW nozzle servicing and testing | Preventive | Nepolean | 2019-05-07 | - | Nozzle tested and serviced
CL320 | 2019-05-09 | T.V. Kovil | D | Batchen Dispenser B side on / off switch complaint | Breakdown | Prabu | 2019-05-09 | - | New on/ Off switch changed - Rectified
CL321 | 2019-05-09 | Aravakurichi | T | Tank Nitrogen testing and Cable laying | Preventive | Chandrasekar & Kathiresan | 2019-05-10 | - | Tank nitrogen testing completed & and cable laying completed.
CL322 | 2019-05-10 | Ariyamangalam | D | Dispensing hose 0.5 m LPG leakage | Breakdown | Nepolean | 2019-05-10 | - | New 0.5m Hose replaced - Leakage arrested - Rectified
CL323 | 2019-05-10 | Karur | D | Breakaway coupling Leakage | Breakdown | Chandrasekar & Kathiresan | 2019-05-10 | - | Breakaway coupling and Programming switch replaced newly - Rectified
CL324 | 2019-05-10 | Namakkal 1 | T | Tank water hydro test | Preventive | Chandrasekar & Kathiresan | 2019-05-11 | - | Tank water hydro test completed - No leakage
CL325 | 2019-05-13 | Theni | R | Control panel wiring and contactor complaint | Breakdown | Nepolean | 2019-05-15 | - | Contactor, MOL Relay & Control panel 24 v Relay wiring adjusted - Rectified
CL326 | 2019-05-14 | Paramathivelur | D | Dispensing motor not working | Breakdown | Chandrasekar & Gowtham | 2019-05-15 | - | MOL relay adjusted - Working fine - Rectified
CL327 | 2019-05-18 | Kodungaiyur | T | Tank hydro test | Preventive | Suneel Sagar | 2019-05-18 | - | Hydro test completed and found satisfactory.
CL328 | 2019-05-20 | T.V. Kovil | D | B Side nozzle hose problem | Breakdown | Prabu | 2019-05-20 | - | Hose sleeve adjusted - Testing 1.08 L - Rectified
CL329 | 2019-05-21 | Sulur | R | Dispensing compressor running continuously - Air Leakage | Breakdown | Prabu & Gowtham | 2019-05-21 | - | Panel board to dispenser and Panel Board to Tank - all three pneumatic hoses are replaced - Rectifed
CL330 | 2019-05-21 | Ariyamangalam | D | D side nozzle complaint | Breakdown | Nepolean | 2019-05-21 | - | Service nozzle changed and Two nozzle serviced and tested - Testing 6.34 L - Working fine - Rectified
CL331 | 2019-05-23 | Ariyamangalam | D | Nozzle on / off switch complaint | Breakdown | Chandrasekar | 2019-05-23 | - | New On / Off switch changed - Rectifed
CL332 | 2019-05-23 | Velachery | D | Pneumatic Hose problem | Breakdown | Suneel Sagar | 2019-05-23 | - | Dispenser Pneumatic Hose Changed.
CL333 | 2019-05-24 | Vellakovil | D | Dispenser position replaced | Breakdown | Nepolean | 2019-05-24 | - | Dispenser position and hose bending adjusted - Rectifed
CL334 | 2019-05-25 | Hosur | D | Dispensing motor not working | Breakdown | Prakash | 2019-05-26 | - | EB- Phase problem - Rectified
CL335 | 2019-05-26 | Aravakurichi | G | Electrical line work | Preventive | Kathiresan & Vignesh | 2019-05-27 | - | Electrical line work completed
CL336 | 2019-05-27 | Kodungaiyur | T | CP installation | Preventive | Gowtham | 2019-05-28 | - | CP installation completed - Attended
CL337 | 2019-05-27 | T.V. Kovil | D | Batchen Dispenser B side Nozzle compliant | Breakdown | Prabu | 2019-05-27 | - | Nozzle Teeth 4 nos changed - Rectified
CL338 | 2019-05-28 | Cantonment | D | D side nozzle leakage | Breakdown | Chandrasekar | 2019-05-28 | - | Nozzle Teeth 4 nos changed - Rectified
CL339 | 2019-06-01 | Theni | D | Dispensing air solenoid coil problem | Breakdown | Nepolean | 2019-06-02 | - | New coil set one no changed - Dispensing line tank area new air hose changed - Decanting line new air hose changed and B side nozzle serviced - Rectifed
CL340 | 2019-06-02 | Thuraiyur | D | Dispenser keypad problem | Breakdown | Prabu | 2019-06-02 | - | Spare keypad replaced - Rectified
CL341 | 2019-06-02 | Theni | D | Nozzle servicing and Solenoid Coil problem | Breakdown | Nepolean | 2019-06-02 | - | Solenoid coil set changed - Dispensing line air hose changed - B side nozzle serviced and Decanting line air hose changed - Rectified
CL342 | 2019-06-04 | Krishnagiri | C | Dispenser calibration and Stamping | Certification | Prabu & Kathiresan | 2019-06-04 | - | Stamping and dispenser calibration completed and Dispenser gas filter replaced
CL343 | 2019-06-04 | Renganathan | D | Nozzle compliant | Breakdown | Nepolean | 2019-06-04 | - | New nozzle changed - Rectified
CL344 | 2019-06-04 | T.V. Kovil | G | N2 machine keypad complaint | Breakdown | Nepolean | 2019-06-04 | - | New keypad changed - Rectified
CL345 | 2019-06-04 | Ariyamangalam | D | A side nozzle complaint | Breakdown | Nepolean | 2019-06-04 | - | Teeth complaint - Old china nozzle changed - Rectified
CL346 | 2019-06-04 | Hosur | C | Dispenser calibration and Stamping | Certification | Prabu & Kathiresan | 2019-06-04 | - | Stamping and dispenser calibration completed
CL347 | 2019-06-06 | Thuraiyur | D | Dispenser program lock key set and keypad complaint | Breakdown | Prabu | 2019-06-06 | - | Dispenser program lock key set and keypad changed - Rectified
CL348 | 2019-06-06 | T.V. Kovil | D | Dispenser LPG hose leakage problem | Breakdown | Prabu | 2019-06-06 | - | Spare LPG hose Replaced - Testing 1.12 L - Rectified
CL349 | 2019-06-08 | Virudhunagar | A | Automation material installation | Preventive | Madhavan & Vigneshwaran | 2019-06-09 | - | Automation Cable Laying,Network installation completed.
CL350 | 2019-06-08 | Tirunelveli | D | Dispenser one side not working - Metering unit complaint | Breakdown | Nepolean & Thirumalaisamy | 2019-06-09 | - | A side High flow low flow solenoid coil and angle valve cleaned. Excess flow valve block released. Dispensing air solenoid coil changed- Rectified
CL351 | 2019-06-09 | Paramathivelur | R | Dispensing motor conductor complaint | Breakdown | Prakash | 2019-06-09 | - | New conductor replaced - Rectified
CL352 | 2019-06-09 | Theni | R | Dispensing motor conductor complaint | Breakdown | Nepolean | 2019-06-11 | - | New control panel relay DC24V Omran - changed - Rectified
CL353 | 2019-06-09 | T.V. Kovil | D | Batchen Dispenser A side nozzle leakage | Breakdown | Prabu | 2019-06-09 | - | Nozzle replaced - 4 nos - Testing- 2.48L Rectified
CL354 | 2019-06-11 | Dindigul | D | Dispenser On / Off Switch problem | Breakdown | Nepolean | 2019-06-11 | - | New on/ Off switch changed - Rectified
CL355 | 2019-06-12 | Cantonment | T | Unloading vapour hose ACME adapter changing | Preventive | Chandrasekar | 2019-06-12 | - | ACME adapter changed - Working fine with no leakage - Attended
CL356 | 2019-06-12 | T.V. Kovil | D | Batchen Dispenser A side nozzle leakage | Breakdown | Prabu | 2019-06-12 | - | Spare nozzle changed - working normally - Testing - 1.26 L - Rectified
CL357 | 2019-06-13 | Avinashi | C | Dispenser calibration and Stamping | Certification | Prabu & Kathiresan | 2019-06-13 | - | Dispenser calibration and stamping completed successfully
CL358 | 2019-06-13 | Udumalpet | C | Dispenser calibration and Stamping | Certification | Prabu & Kathiresan | 2019-06-14 | - | Dispenser calibration and stamping completed successfully
CL359 | 2019-06-14 | Tirunelveli | D | B side nozzle not working due to metering unit problem | Breakdown | Nepolean | 2019-06-15 | - | B side bearing and seal kit changed - High flow, low flow and DP Valve cleaned - Rectified
CL360 | 2019-06-14 | Paramathivelur | R | Control Panel Problem | Breakdown | Prabu | 2019-06-15 | - | Thermal Overload Relay -1 no & 3 Pole contactor - 1 no - Replaced - Rectified
CL361 | 2019-06-17 | Ariyamangalam | D | Nozzle LPG low flow problem | Breakdown | Nepolean | 2019-06-17 | - | Solenoid valve cleaned - Rectified
CL362 | 2019-06-17 | Cantonment | D | D side nozzle on off switch replacement | Breakdown | Chandrasekar | 2019-06-17 | - | Dispenser On/Off Switch changed and working fine - Rectified
CL363 | 2019-06-18 | Attur | D | Dispenser low flow and slow delivery | Breakdown | Nepolean & Prabu | 2019-06-18 | - | High flow low flow valve cleaned - Rectifed
CL364 | 2019-06-20 | T.V. Kovil | D | Batchen Dispenser A side nozzle leakage | Breakdown | Prabu | 2019-06-20 | - | Spare nozzle and nozzle teeth - 4 nos changed - Rectifed
CL365 | 2019-06-20 | Aravakurichi | C | Dispenser calibration and Stamping | Certification | Chandrasekar | 2019-06-20 | - | Stamping completed - ATG Installation done - Attended
CL366 | 2019-06-21 | Erode | T | Tank hydro test | Preventive | Nepolean & Prabu | 2019-06-21 | - | Hydro test completed and found satisfactory.
CL367 | 2019-06-22 | Pudukkottai | T | Tank Installation | Preventive | Nepolean & Gowtham | 2019-06-22 | - | Tank Installation Completed
CL368 | 2019-06-22 | Karur | D | LPG Slow delivery | Breakdown | Nepolean | 2019-06-23 | - | Dispenser filter newly changed. A side solenoid valve & DP Valve cleaned - Working normally - Rectified
CL369 | 2019-06-24 | Erode | T | CP installation | Preventive | Prabu | 2019-06-24 | - | Cathodic Protection Installation completed - Attended
CL370 | 2019-06-24 | Aravakurichi | R | Control Panel not working | Breakdown | Chandrasekar & Kathiresan | 2019-06-24 | - | Input wiring loose Connection - Rectified
CL371 | 2019-06-24 | Cantonment | C | Dispenser Stamping | Certification | Nepolean | 2019-06-24 | - | Stamping Completed
CL372 | 2019-06-24 | Paramathivelur | R | Stabilizer Servo mode not working | Breakdown | Chandrasekar & Kathiresan | 2019-06-24 | - | Stabilizer input power fuse complaint - Replaced - Rectified
CL373 | 2019-06-25 | Namakkal 1 | T | Cathodic Protection Installation | Preventive | Prabu | Postponed | - | Cathodic protection work postponed due to low level of sand filling in the pit. Due to rain the M.sand is combust and sand level goes lower than the minimum required level for CP. Informed the Dealer Mr. Shiva (Karur) and requested to fill the sand for 2 more feet higher.
CL374 | 2019-06-27 | Thuraiyur | D | Limit switch not working - Cutoff problem | Breakdown | Prabu | 2019-06-27 | - | Limit Switch tightened - Rectified
CL375 | 2019-06-28 | Kangeyam | D | Additional dispenser installation | Preventive | Prakash, Prabu & Kathiresan | 2019-06-28 | - | Kangayam Additional dispenser installation and old dispenser shifting work completed. Both dispenser stamped - Attended
CL376 | 2019-06-28 | Virudhunagar | D | Yenen Dispenser Error | Breakdown | Nepolean | 2019-06-28 | - | Program checked and total power shutdown and restarted - Rectified
CL377 | 2019-06-28 | Ariyamangalam | D | B Side dispenser nozzle 2 nos servicing and testing | Preventive | Nepolean | 2019-06-28 | - | B Side dispenser nozzle 2 nos servicing and testing - Attended
CL378 | 2019-06-29 | Dharapuram | T | Unloading Airline problem and dispenser side ballvalve LPG leakage | Breakdown | Prabu | 2019-06-29 | - | Unloading side pneumatic tube damage corrected using straight joint and Ballvalve serviced to arrest leakage - Rectified
CL379 | 2019-06-30 | Palladam | T | Pressure Gauge 2 nos complaint | Breakdown | Prabu | 2019-06-30 | - | Pressure Gauge 2 nos replaced - Rectified
CL380 | 2019-06-30 | Cantonment | T | decanting vapour and liquid ball valve leakage | Breakdown | Chandrasekar | 2019-06-30 | - | Ballvalve Stem tightening - Rectified
CL381 | 2019-07-01 | Ariyamangalam | D | C side nozzle hose ( 5 m) LPG leackage | Breakdown | Nepolean | 2019-07-01 | - | New dispenser hose changed - Leakage arrested - Rectified
CL382 | 2019-07-01 | Kodungaiyur | T | Hydro Test | Preventive | Suneel Sagar | 2019-07-01 | - | Hydro test completed and found satisfactory and next planned for Nitrogen Filling
CL383 | 2019-07-02 | Namakkal 1 | T | CP installation | Preventive | Gowtham | 2019-07-02 | - | CP installation completed - Attended
CL384 | 2019-07-02 | Erode | G | Pipe line welding work | Preventive | Chandrasekar | 2019-07-12 | - | Completed.
CL385 | 2019-07-05 | Hosur | A | KRG tank vessel and Weighing scales Automation work& pump billing software mobile configuration | Preventive | Prakash, Prasath & Madhavan (With Mr. Arul Rayappan) | 2019-07-05 | - | Completed
CL386 | 2019-07-07 | T.V. Kovil | R | MOL Problem | Breakdown | Prabu | 2019-07-07 | - | Total reset done - Rectified
CL387 | 2019-07-08 | Paramathivelur | T | Pump Suction Problem | Breakdown | Prakash, Chandrasekar & Gowtham | 2019-07-10 | - | Suction pipeline root changed to evacuation line - Rectified
CL388 | 2019-07-08 | Erode | T | Pipeline Hydro Test | Preventive | Prakash Prakash, Chandrasekar, Gowtham & Kathiresan | 2019-07-09 | - | Pipeline inspection completed - Attended
CL389 | 2019-07-08 | Vellakovil | C | Dispenser Calibration | Certification | Prakash, Chandrasekar & Gowtham | 2019-07-09 | - | Dispenser calibration completed successfully
CL390 | 2019-07-09 | T.V. Kovil | D | A side nozzle leakage | Breakdown | Prabu | 2019-07-09 | - | Nozzle serviced - Working normally - Testing 1.22 L - Rectified
CL391 | 2019-07-11 | Mettupalayam | R | Motor Unit problem | Breakdown | Kathiresan | 2019-07-11 | - | Motor fan blade problem - Blade Serviced - Rectified
CL392 | 2019-07-12 | Erode | G | Pipeline welding, Hydro Test & Rule 33 data | Preventive | Kathiresan | 2019-07-12 | - | Pipeline welding work completed, hydro test completed, Rule 33 data collected - Attended
CL393 | 2019-07-14 | Kangeyam | D | Yenen dispenser one side not working | Breakdown | Kathiresan | 2019-07-14 | - | Dispenser fuse serviced and temporarily rectified the problem
CL394 | 2019-07-14 | Theni | D | One side dispenser not working and LPG slow delivery problem | Breakdown | Nepolean | 2019-07-15 | - | B side metering unit new bearing and seal kit changed and A side solenoid coil cleaned for slow delivery problem & Pressure Gauge 2 nos fitted in tank area- Rectified
CL395 | 2019-07-17 | T.V. Kovil | D | Batchen dispenser A side On/Off Switch Problem | Breakdown | Chandrasekar | 2019-07-17 | - | New on/ Off switch changed - Rectified
CL396 | 2019-07-18 | Ariyamangalam | D | Dispenser error 68 - occurred two times | Breakdown | Nepolean | 2019-07-18 | - | Dispenser Reset done - Rectified
CL397 | 2019-07-20 | Tirunelveli | R | Control Panel problem | Breakdown | Nepolean | 2019-07-21 | - | R2 conductor changed and A side slow delivery problem rectified
CL398 | 2019-07-23 | Karur | T | PMR and decanting line copper jumper fitting | Preventive | Chandrasekar, Kathiresan & Gowtham | 2019-07-23 | - | PMR done and copper jumper fitted - attended
CL399 | 2019-07-23 | Vellakovil | D | Dispenser not working & Hose mask fitting | Breakdown | Chandrasekar, Kathiresan & Gowtham | 2019-07-23 | - | Fuse holder burned - New fuse holder replaced and hose mask - 2nos fitted - Rectified
CL400 | 2019-07-23 | Chengalpattu | D | Batchen dispenser power board problem | Breakdown | Suneel Sagar | 2019-07-23 | - | New power board replaced - Working Fine - Rectified
CL401 | 2019-07-23 | Palladam | G | PMR & CP Junction Box connector problem | Preventive | Chandrasekar, Kathiresan & Gowtham | 2019-07-24 | - | PMR prepared & new junction box connector replaced - Rectified
CL402 | 2019-07-24 | Sulur | G | PMR | Preventive | Chandrasekar, Kathiresan & Gowtham | 2019-07-24 | - | PMR Prepared
CL403 | 2019-07-24 | Saravanampatty | G | PMR | Preventive | Chandrasekar, Kathiresan & Gowtham | 2019-07-24 | - | PMR Prepared
CL404 | 2019-07-24 | Rasipuram | A | Automation Cable Laying & Dispenser side connection | Preventive | Prabu | 2019-07-24 | - | Cable connection done and ATG junction box fitted - Attended
CL405 | 2019-07-24 | Pudukkottai | T | Excess flow valve fitting | Preventive | Nepolean | 2019-07-24 | - | Fitted - Attended
CL406 | 2019-07-26 | Paramathivelur | R | MOL Problem | Breakdown | Kathiresan | 2019-07-26 | - | Control panel motor - Relay contactor reconnected and tightened - Rectified
CL407 | 2019-07-27 | Velachery | T | Unloading pump flange "O" ring problem | Breakdown | Suneel Sagar | 2019-07-27 | - | O ring changed - No leakage - Rectified
CL408 | 2019-07-28 | T.V. Kovil | D | Yenen dispenser C side nozzle leakage | Breakdown | Prabu | 2019-07-28 | - | Nozzle serviced - Working fine - Rectified
CL409 | 2019-07-29 | Ariyamangalam | D | Udumalpet nozzles servicing in D side | Breakdown | Nepolean | 2019-07-29 | - | Serviced and tested
CL410 | 2019-07-30 | Attur | A | Automation - Completion of installation | Preventive | Madhavan & Prabu | 2019-07-30 | - | Installation completed and it is on live.
CL411 | 2019-07-30 | Erode | G | Electrical work | Preventive | Kathiresan | 2019-08-02 | - | Electrical line work completed
CL412 | 2019-07-31 | Rasipuram | A | Automation - Completion of installation | Preventive | Madhavan & Prabu | 2019-07-31 | - | Installation completed and it is on live.
CL413 | 2019-07-31 | Cantonment | D | Nozzle LPG leakage | Breakdown | Chandrasekar | 2019-07-31 | - | Teeth 4 nos changed - Leakage arrested - Rectified
CL414 | 2019-07-31 | Pudukkottai | T | Pipe line water hydro testing | Preventive | Chandrasekar | 2019-07-31 | - | Hydro testing completed
CL415 | 2019-08-02 | Cantonment | G | Oil dispenser air leakage | Breakdown | Chandrasekar | 2019-08-02 | - | M seal and Araldite applied - Leakage arrested - Rectified
CL416 | 2019-08-04 | Mettupalayam | G | Genset Power Problem | Breakdown | Chandresekar | 2019-08-05 | - | Rectified - Working normally
CL417 | 2019-08-06 | Pudukkottai | C | Rule 33 data collection | Certification | Kathiresan | 2019-08-06 | - | Data collected
CL418 | 2019-08-07 | Rasipuram | A | Modem & Printer installation | Preventive | Prabu | 2019-08-08 | - | Bill printer and 2 mobiles working online
CL419 | 2019-08-08 | Cantonment | D | Dispensing motor conductor complaint & Oil dispenser nozzle leakage | Breakdown | Chandrasekar | 2019-08-08 | - | New Conductor replaced & Oil dispenser new nozzle changed - Testing 3.5L - Rectified
CL420 | 2019-08-09 | Ariyamangalam | D | Power Cord checking on C & D Side | Preventive | Nepolean | 2019-08-09 | - | Checked - D side testing : 20.05. c side testing : 16.52 - Attended
CL421 | 2019-08-09 | Cantonment | D | B side Nozzle leakage | Breakdown | Chandrasekar | 2019-08-09 | - | New teeth changed - Rectified
CL422 | 2019-08-10 | T.V. Kovil | G | Oil Dispenser nozzle leakage | Breakdown | Prabu | 2019-08-10 | - | New nozzle replaced - Oil testing - 2.5 L - Rectified
CL423 | 2019-08-10 | Ariyamangalam | D | Power Cord checking on C & D Side | Preventive | Nepolean | 2019-08-10 | - | Checked - D side testing : 7.02L. c side testing : 5.85L - Attended
CL424 | 2019-08-11 | Pudukkottai | G | Electrical Work | Preventive | Chandresekar & Kathiresan | On Process | - | Electrical work is going on.
CL425 | 2019-08-12 | Paramathivelur | D | Old Nozzle servicing | Preventive | Prabu | 2019-08-12 | - | Serviced - Attended
CL426 | 2019-08-12 | Rasipuram | D | B side nozzle complaint & Corretion of emergency board circuit | Breakdown | Prabu | 2019-08-12 | - | B side nozzle replaced - working fine - Rectified
CL427 | 2019-08-12 | Ariyamangalam | D | Error 39 - Occurred | Breakdown | Nepolean | 2019-08-12 | - | Reset done - Rectified
CL428 | 2019-08-13 | Pudukkottai | G | Electrical work | Preventive | Thirumalaisamy | 2019-08-13 | - | Electrical work completed
CL429 | 2019-08-13 | Erode | C | Peso Inspection work | Certification | Chandrasekar, Kathiresan & Gowtham | 2019-08-14 | - | Inspection completed
CL430 | 2019-08-16 | Erode | T | Tank Nitrogen Test | New Project | Prabu | 2019-08-16 | - | N2 test done - No Leakage - Completed
CL431 | 2019-08-18 | Rasipuram | A | Yenen Dispenser Input power UPS connection | Preventive | Chandrasekar | 2019-08-18 | - | Input UPS connected - Automation online mode working fine - Attended
CL432 | 2019-08-19 | Pudukkottai | T | N2 test | Preventive | Thirumalaisamy & Gowtham | 2019-08-19 | - | N2 test done - No Leakage - Completed
CL433 | 2019-08-19 | Cantonment | D | Nozzle C leakage | Breakdown | Chandrasekar | 2019-08-19 | - | Nozzle teeth 4 nos changed newly - Testing 1.91 L - Leakage arrested - Rectified
CL434 | 2019-08-19 | Rasipuram | G | Dispenser motor problem | Breakdown | Prabu | 2019-08-19 | - | Genset line complaint - adjusted - Working normally - Rectified
CL435 | 2019-08-20 | Ariyamangalam | D | Krishnagiri nozzle servicing | Preventive | Nepolean | 2019-08-20 | - | Nozzle serviced & Tested
CL436 | 2019-08-20 | Velachery | D | Disperser stopped & Dispenser Totalizer has become zero due to Display board problem | Breakdown | Suneel Sagar | 2019-08-21 | - | Velachery C side display has been changed now 4 nozzles are in operation - Rectified
CL437 | 2019-08-20 | Tirunelveli | D | Dispenser metering unit complaint and tank decanting complaint | Breakdown | Nepolean | 2019-08-20 | - | New bearing and seal kit changed and high flow low flow valves cleaned, Decanting training completed, A side nozzle serviced and unloading vapour line acme adapter LPG leakage arrested - Rectifed
CL438 | 2019-08-23 | Namakkal 1 | T | Tank internal pipeline assembling | Preventive | Gowtham | 2019-08-23 | - | Tank internal pipe line assembled along with excess flow valves and two flanges are fixed - Attended
CL439 | 2019-08-24 | Kodungaiyur | G | Panel testing | Preventive | Suneel Sagar | 2019-08-24 | - | Kodangaiyur site panel testing completed and found satisfactory - Attended
CL440 | 2019-08-26 | Chengalpattu | R | RO panel Voltage scanner malfunctioning& ATG hanged | Breakdown | Suneel Sagar | 2019-08-26 | - | ATG ram cleared & voltage scanner bypassed as stabiliser which is already having cutoff provision - Now working - Rectified
CL441 | 2019-08-27 | Cantonment | R | Air compressor oil level indicator oil leakage | Breakdown | Chandrasekar | 2019-08-27 | - | New indicator changed. Leakage arrested - Rectified
CL442 | 2019-08-29 | Namakkal 1 | G | Welding work | New Project | Chandrasekar & Gowtham | 2019-08-29 | - | Namakkal site welding work going on.rule 33 data details collected - Attended
CL443 | 2019-08-29 | Vadivelan Nagar | G | Site marking | New Project | Prakash | 2019-08-30 | - | Site marking completed
CL444 | 2019-08-30 | Karur | D | Slow delivery | Breakdown | Chandrasekar & Thirumalaisamy | 2019-08-30 | - | DP valve and solenoid valve cleaned. Decanting vapour ROV leakage arrested - Rectified
CL445 | 2019-09-01 | Hosur | D | Dispenser not working | Breakdown | Prabu | 2019-09-03 | - | Solenoid valve cleaned and On/ Off switch NO element changed - Nozzle serviced - Rectified
CL446 | 2019-09-03 | Kodungaiyur | G | Commissioning | New Project | Prakash | 2019-09-04 | - | Commission completed - Safely unloaded - Attended
CL447 | 2019-09-04 | Cantonment | C | Rule 18 certification | Certification | Chandrasekar | 2019-09-04 | - | Rule 18 completed
CL448 | 2019-09-04 | Ariyamangalam | C | Rule 18 certification | Certification | Chandrasekar | 2019-09-04 | - | Rule 18 completed
CL449 | 2019-09-04 | T.V. Kovil | C | Rule 18 certification | Certification | Chandrasekar | 2019-09-04 | - | Rule 18 completed
CL450 | 2019-09-05 | Krishnagiri | C | Rule 18 certification | Certification | Chandrasekar, Kathiresan & Gowtham | 2019-09-05 | - | Rule 18 completed
CL451 | 2019-09-05 | Hosur | C | Rule 18 certification | Certification | Chandrasekar, Kathiresan & Gowtham | 2019-09-05 | - | Rule 18 completed
CL452 | 2019-09-05 | Namakkal 1 | G | Pipeline welding & water Hydro Test | New Project | Chandrasekar | 2019-09-05 | - | Pipeline welding and hydro test completed - Attended
CL453 | 2019-09-05 | Kodungaiyur | A | Automation installation | New Project | Madhavan & Prabu | On Process | - | On Process
CL454 | 2019-09-06 | Attur | C | Rule 18 certification | Certification | Nepolean | 2019-09-06 | - | Rule 18 completed
CL455 | 2019-09-06 | Salem | C | Rule 18 certification | Certification | Nepolean | 2019-09-06 | - | Rule 18 completed
CL456 | 2019-09-06 | Thuraiyur | C | Rule 18 certification | Certification | Nepolean | 2019-09-06 | - | Rule 18 completed
CL457 | 2019-09-07 | Sulur | C | Rule 18 certification | Certification | Chandrasekar | 2019-09-07 | - | Rule 18 completed
CL458 | 2019-09-07 | Saravanampatty | C | Rule 18 certification | certification | Chandrasekar | 2019-09-07 | - | Rule 18 completed
CL459 | 2019-09-09 | Kodungaiyur | T | Product Unloading | New Project | Prabu | 2019-09-09 | - | Product unloaded successfully - Sales started
CL460 | 2019-09-10 | Dindigul | C | Rule 18 certification | Certification | Chandrasekar, Kathiresan & Gowtham | 2019-09-10 | - | Rule 18 & Dispenser calibration completed
CL461 | 2019-09-10 | Theni | C | Rule 18 certification | Certification | Chandrasekar, Kathiresan & Gowtham | 2019-09-10 | - | Rule 18 & Dispenser calibration completed
CL462 | 2019-09-10 | Cantonment | D | Nozzle B, C & D testing | Preventive | Nepolean | 2019-09-10 | - | Tested & Serviced - B, C & D side - each 4 nozzles changed
CL463 | 2019-09-11 | Tirunelveli | C | Rule 18 certification | Certification | Chandrasekar | 2019-09-11 | - | Rule 18 & Dispenser calibration completed
CL464 | 2019-09-11 | Virudhunagar | C | Rule 18 certification | Certification | Chandrasekar | 2019-09-11 | - | Rule 18 completed
CL465 | 2019-09-12 | T.V. Kovil | D | B side nozzle complaint | Breakdown | Nepolean | 2019-09-12 | - | Nozzle changed - Testing 1.15L - Rectified
CL466 | 2019-09-13 | Ariyamangalam | C | Dispenser Stamping | Certification | Nepolean | 2019-09-13 | - | Dispenser stamping completed
CL467 | 2019-09-14 | Kodumudi | T | Tank water hydro test | New Project | Thirumalaisamy | 2019-09-14 | - | Water hydro test completed
CL468 | 2019-09-14 | T.V. Kovil | D | Batchen dispenser Error 11 occurred | Breakdown | Prabu | 2019-09-14 | - | Reset done - Rectified
CL469 | 2019-09-15 | Bhavani | T | Dispensing motor running continuously | Breakdown | Chandrasekar & Thirumalaisamy | 2019-09-15 | - | Cleaned the junction box - Rectified
CL470 | 2019-09-16 | Kodumudi | T | CP installation | New Project | Thirumalaisamy | 2019-09-16 | - | CP installation completed - Attended
CL471 | 2019-09-16 | T.V. Kovil | D | Dispenser program lock key set complaint | Breakdown | Prabu | 2019-09-16 | - | New lock key set changed - Rectified
CL472 | 2019-09-16 | T.V. Kovil | C | Rule 18 certification | Certification | Nepolean | 2019-09-16 | - | Rule 18 completed
CL473 | 2019-09-18 | Kodungaiyur | D | Dispenser Vapour ROV Gland leakage | Breakdown | Suneel Sagar | 2019-09-18 | - | ROV Tightened and B side nozzle breakaway reconnected - Rectified
CL474 | 2019-09-18 | Thuraiyur | C | Rule 18 certification | Certification | Nepolean, Thirumalaisamy & Gowtham | 2019-09-18 | - | Rule 18 completed
CL475 | 2019-09-19 | Karur | C | Rule 18 certification & Dispenser calibration | Certification | Chandrasekar, Kathiresan & Gowtham | 2019-09-19 | - | Rule 18 & Dispenser calibration completed
CL476 | 2019-09-19 | Chengalpattu | D | athen dispenser A side Metering unit leakage | Breakdown | Suneel Sagar | 2019-09-19 | - | A side Metering unit Top cover Lipseal Changed & leak arrested. B side Power board Malfunctiing & Power board needs to be replaced. A side Testing : 11.04 ltrs, B side 12.84 ltrs. Now 4 nozzles are in operation - Rectified
CL477 | 2019-09-20 | Dharapuram | C | Rule 18 certification | Certification | Chandrasekar | 2019-09-20 | - | Rule 18 completed
CL478 | 2019-09-20 | Vellakovil | C | Rule 18 certification | Certification | Chandrasekar | 2019-09-20 | - | Rule 18 completed
CL479 | 2019-09-21 | Aravakurichi | C | Rule 18 certification | Certification | Chandrasekar | 2019-09-21 | - | Rule 18 completed
CL480 | 2019-09-21 | Udumalpet | C | Rule 18 certification & emergency switch cable short ciruited | Certification | Chandrasekar | 2019-09-21 | - | Rule 18 completed & Cable replaced
CL481 | 2019-09-22 | Tirunelveli | D | Dispenser B side metering unit one side not working | Breakdown | Nepolean | 2019-09-22 | - | Excess flow valve blocked and B side High flow low flow and DP valve bottom excess flow valve cleaned - Rectified
CL482 | 2019-09-24 | Rasipuram | C | Rule 18 certification & Automation installation | Certification | Nepolean, Gowtham, Prabu & Prasath | 2019-09-24 | - | Rule 18 work & Automation installation completed
CL483 | 2019-09-24 | Bhavani | C | Rule 18 certification & Automation installation | Certification | Nepolean, Gowtham, Prabu & Prasath | 2019-09-24 | - | Rule 18 work & Automation installation completed
CL484 | 2019-09-25 | Mettupalayam | C | Rule 18 certification & Automation installation | Certification | Nepolean, Gowtham, Prabu & Prasath | 2019-09-26 | - | Rule 18 work & Automation installation completed
CL485 | 2019-09-25 | Thuraiyur | R | Compressor not working | Breakdown | Kathiresan | On Process | - | Compressor NRV compliant. NRV to be changed
CL486 | 2019-09-26 | Tirunelveli | T | Tank 2 is not dispensing - Turbo drive plc and plc power card problem | Breakdown | Chandrasekar | 2019-09-26 | - | Temporarily fixed with the replacement of power cord and PLC. PLC board is required to fix the complaint.
CL487 | 2019-09-26 | Avinashi | C | Rule 18 certification | Certification | Nepolean | 2019-09-26 | - | Rule 18 completed & Tank 1 vapour line ROV LPG leakage arrested - Rectified
CL488 | 2019-09-27 | Palladam | C | Rule 18 certification | Certification | Nepolean | 2019-09-27 | - | Rule 18 completed
CL489 | 2019-09-27 | Paramathivelur | R | Control panel board not working | Breakdown | Prabu | 2019-09-27 | - | Stabilizer fuse replaced & Surge protector bypassed - New surge protector changed on 29.09.2019
CL490 | 2019-09-27 | Kangeyam | C | Rule 18 Certification & Yenen dispenser emergency switch completed | Certification | Nepolean | 2019-09-27 | - | Rule 18 Completed & New UPS installed for Yenen Dispenser 600Va - Emergency switch neutral line enabled - Rectified
CL491 | 2019-09-28 | Manapparai | T | Tank Installation | New Project | Prakash & Thirumalaisamy | 2019-09-28 | - | Tank Installation Completed
CL492 | 2019-09-29 | Karur | D | Dispenser B side nozzle not working because of metering unit problem | Breakdown | Nepolean | 2019-09-30 | - | Both side high flow low flow solenoid valve cleaned - Rectified
CL493 | 2019-09-30 | Aravakurichi | D | Dispenser Error complaint | Breakdown | Prabu | 2019-09-30 | - | Reset done - Rectified
CL494 | 2019-10-01 | Tirunelveli | T | Tank 2 turbo drive PLC replacement and dispenser one side breakaway fitment | Preventive | Nepolean | 2019-10-02 | - | New power cord replaced
CL495 | 2019-10-02 | Manapparai | T | Hydro Test | New Project | Gowtham | 2019-10-02 | - | Hydro test completed
CL496 | 2019-10-02 | T.V. Kovil | D | Batchen dispenser B side nozzle leakage | Breakdown | Prabu | 2019-10-02 | - | Nozzle serviced - Working fine - Rectified
CL497 | 2019-10-02 | Cantonment | D | OPW nozzles 4 nos na 5m hose changing | Breakdown | Chandrasekar | 2019-10-02 | - | Nozzles 4 nos and 5m hose changed
CL498 | 2019-10-04 | Pudukkottai | C | Peso Inspection work | New Project | Chandrasekar & Kathiresan | 2019-10-04 | - | Peso inspection work completed
CL499 | 2019-10-05 | Ariyamangalam | R | Control panel Decanting air solenoid coil problem | Breakdown | Nepolean | 2019-10-05 | - | New Solenoid coil changed - Rectified
CL500 | 2019-10-07 | Chengalpattu | D | Batchen dispenser power cord problem | Breakdown | Suneel Sagar & Nepolean | 2019-10-10 | 2 nozzles - 2 days | Power cord wiring and connectors adjested - Rectified
CL501 | 2019-10-09 | Kodumudi | C | Rule 33 data collection & Inspection | New Project | Prabu | 2019-10-09 | - | Data collected
CL502 | 2019-10-09 | Ariyamangalam | D | A side nozzle LPG Problem | Breakdown | Nepolean | 2019-10-09 | - | Service nozzle changed and working fine - Rectified
CL503 | 2019-10-09 | Perundurai | T | Tank Installation | New Project | Prabu | 2019-10-10 | - | Tank Installation Completed
CL504 | 2019-10-09 | Ariyamangalam | G | Mass flow meter fitting and leakage testing | Preventive | Nepolean | 2019-10-09 | - | Leakage tested - No Leakage - Attended
CL505 | 2019-10-10 | Chengalpattu | C | Rule 18 work | Certification | Nepolean & Kathiresan | 2019-10-10 | - | Rule 18 completed
CL506 | 2019-10-10 | Krishnagiri | D | ROV leakage at dispenser side | Breakdown | Gowtham | 2019-10-10 | - | ROV Replaced - Rectified
CL507 | 2019-10-10 | Namakkal 1 | G | Cable laying work | New Project | Gowtham | 2019-10-10 | - | Earth laying completed.
CL508 | 2019-10-10 | Bhavani | T | Dispensing motor love jaw coupling complaint | Breakdown | Prabu | 2019-10-10 | - | Love jaw coupling changed - Rectified
CL509 | 2019-10-12 | Pudukkottai | A | Automation installation | New Project | Madhavan & Prasath | 2019-10-16 | - | Installation completed and it is on live.
CL510 | 2019-10-12 | Kangeyam | D | Dispenser pipe line leakage | Breakdown | Prabu & Gowtham | 2019-10-12 | - | Refitted - Leakage arrested - Rectified
CL511 | 2019-10-13 | Namakkal 1 | G | Control panel wiring and installation | New Project | Gowtham | 2019-10-13 | - | Wiring is pending due to lack of materials - will be completed after getting materials
CL512 | 2019-10-13 | Krishnagiri | D | Dispenser Error occurred | Breakdown | Nepolean | 2019-10-13 | - | Dispenser restarted - Error arrested - Rectified
CL513 | 2019-10-14 | Dindigul | R | Control panel complaint | Breakdown | Nepolean | 2019-10-14 | - | Dispenser fuse and MOL relay changed - Rectified
CL514 | 2019-10-14 | Pudukkottai | C | Dispenser Stamping | Certification | Prabu | 2019-10-14 | - | Stamping completed
CL515 | 2019-10-14 | Theni | R | Control panel Relay - complaint | Breakdown | Nepolean | 2019-10-15 | - | 24VDc relay newly changed - Working fine - Rectified
CL516 | 2019-10-16 | Namakkal 1 | D | Dispenser mother board checking and electrical work | New Project | Prabu & Thirumalaisamy | 2019-10-16 | - | Dispenser motherboard checked and electrical work initiated - Attended
CL517 | 2019-10-16 | Rasipuram | G | ATG & UPS connection | Breakdown | Prabu | 2019-10-16 | - | ATG UPS Line connection done - Rectified
CL518 | 2019-10-16 | Pudukkottai | D | Dispenser nozzle one side LPG leakage | Breakdown | Chandrasekar & Gowtham | 2019-10-16 | - | New nozzle replaced - Rectified
CL519 | 2019-10-16 | Erode | D | Dispenser mother board checking | New Project | Prabu | 2019-10-16 | - | Mother board checked - It is working healthy - Attended
CL520 | 2019-10-17 | vellakovil | R | Dispenser not working though the mother board is on | Breakdown | Nepolean | 2019-10-18 | - | Power cord and CPU control card changed - Rectified
CL521 | 2019-10-17 | Bhavani | A | RS485 to USB converter fixing | Breakdown | Prabu | 2019-10-17 | - | Converer board fixed and Control panel pressure switch connected - Rectified
CL522 | 2019-10-17 | Kodumudi | G | Site marking | New Project | Prabu | 2019-10-17 | - | Site marking completed
CL523 | 2019-10-17 | Manapparai | G | Site marking | New Project | Chandrasekar | 2019-10-17 | - | Site marking completed - Welding work started
CL524 | 2019-10-19 | Vellakovil | D | Dispenser cutoff problem | Breakdown | Prabu | 2019-10-20 | - | Power supply cord changed - Rectified
CL525 | 2019-10-20 | Chengalpattu | D | Motherboard checking | Preventive | Nepolean | 2019-10-20 | - | Motherboard checked - Attended
CL526 | 2019-10-21 | Namakkal 1 | G | N2 testing | New Project | Prabu | 2019-10-21 | - | N2 test done - found satisfactory - Completed
CL527 | 2019-10-21 | Cantonment | D | Dispensing vapour return line ROV air leakage | Breakdown | Chandrasekar | 2019-10-21 | - | New 40 NB ROV replaced - Leakage arrested - Rectified
CL528 | 2019-10-21 | T.V. Kovil | R | ELGI Compressor V belt complaint | Breakdown | Kathiresan | 2019-10-21 | - | New belt changed - Rectified
CL529 | 2019-10-22 | Ariyamangalam | D | Hosur nozzle servicing in D side | Preventive | Nepolean | 2019-10-22 | - | Nozzle serviced and tested - Attended
CL530 | 2019-10-22 | Manapparai | T | Hydro Test | New Project | Gowtham | 2019-10-23 | - | Hydro test completed
CL531 | 2019-10-23 | Erode | A | Unloading & Automation installation | New Project | Prakash & Prasath | 2019-10-23 | - | Commission completed - Safely unloaded & Automation is on live.
CL532 | 2019-10-23 | Ariyamangalam | D | D side nozzle neutral compliant | Breakdown | Nepolean | 2019-10-23 | - | On/Off switch replaced with new one - Rectified
CL533 | 2019-10-23 | Tirunelveli | D | B side nozzle not working due to metering unit problem | Breakdown | Nepolean | 2019-10-24 | - | High flow low flow valve cleaned - DP Valve cleaned - B side breakaway changed- OPW nozzle changed in A side - Rectifed
CL534 | 2019-10-25 | Bhavani | A | Automation system monitor not working | Breakdown | Prabu | 2019-10-25 | - | New monitor changed - Rectified
CL535 | 2019-10-27 | T.V. Kovil | A | D Nozzle error during night shift opening because of communication error | Breakdown | Madhavan | 2019-10-27 | - | Transaction status corrected in the database - Rectified
CL536 | 2019-10-28 | Bhavani | G | Servo mode not working in the stabilizer due to power fluctuation | Breakdown | Prabu | 2019-10-28 | - | Stabilizer bypassed. After fluctuation became normal, Servo mode turned on - Rectified
CL537 | 2019-10-29 | Pudukkottai | R | Soft starter installation | Breakdown | Prakash | 2019-10-29 | - | Soft Starter installed and working fine.
CL538 | 2019-10-31 | Thuraiyur | D | Dispenser cutoff problem | Breakdown | Prabu | 2019-10-31 | - | Dispenser On/off switch wiring reconnected - Rectified
CL539 | 2019-11-01 | Aravakurichi | T | Dispensing liquid line 40NB Ballvalve and ROV not working | Breakdown | Chandrasekar | 2019-11-01 | - | Dispensing liquid line 40NB Ballvalve and ROV replaced - Rectified
CL540 | 2019-11-01 | Paramathivelur | T | Dispensing motor love jaw coupling complaint | Breakdown | Chandrasekar | 2019-11-01 | - | New love jaw coupling changed - Rectified
CL541 | 2019-11-05 | Avinashi | T | SRV not working | Breakdown | Prabu | 2019-11-05 | - | SRV replaced - Rectified
CL542 | 2019-11-05 | Karur | T | Decanting pump leakage | Breakdown | Nepolean | 2019-11-05 | - | Ballvalve with ROV replaced - Spare hose fitted - Leakage arrested using teflon tape and tightening - Rectified
CL543 | 2019-11-06 | Sulur | D | On/Off switch, Conductor & Keypad complaint | Breakdown | Prabu | 2019-11-06 | - | On/Off switch, conductor and keypad replaced - Rectified
CL544 | 2019-11-06 | Vellakovil | D | On/Off switch compliant | Breakdown | Nepolean | 2019-11-06 | - | On/Off switch replaced - Rectified
CL545 | 2019-11-07 | Saravanampatty | G | Emergency switch not working & pneumatic hose air leakage | Breakdown | Prabu | 2019-11-07 | - | New cable replaced in the emergency line - Pneumatic hose reconnected and leakage arrested - Rectified
CL546 | 2019-11-07 | Manapparai | G | Pipe line laying | New Project | Chandrasekar | 2019-11-07 | - | Pipeline laying completed - Attended
CL547 | 2019-11-07 | Karur | D | Dispenser one side not working | Breakdown | Nepolean | 2019-11-08 | - | Dust formation removed from the solenoid coil at two sides - Dispenser is working firn - Rectified
CL548 | 2019-11-08 | Ariyamangalam | D | C nozzle LPG leakage | Breakdown | Nepolean | 2019-11-08 | - | Spare nozzle replaced - Rectified
CL549 | 2019-11-09 | Theni | D | Dispenser not working | Breakdown | Nepolean | 2019-11-10 | - | New power cord replaced - Rectified
CL550 | 2019-11-10 | Thuraiyur | D | Dispenser - Reset compliant | Breakdown | Chandrasekar | 2019-11-10 | - | On/Off switch and wiring replaced & Solenoid coil cleaned - Rectified
CL551 | 2019-11-10 | Vadivelan Nagar | A | Automation installation | New Project | Madhavan & Thirumalaisamy | 2019-11-12 | - | Installation completed and it is on live.
CL552 | 2019-11-10 | Ariyamangalam | D | A side nozzle complaint | Breakdown | Prabu | 2019-11-10 | - | Spare nozzle replaced - Rectified
CL553 | 2019-11-11 | Manapparai | G | Wiring work | New Project | Gowtham | 2019-11-11 | - | Wiring completed - Attended
CL554 | 2019-11-12 | Ariyamangalam | D | D side nozzle servicing and testing | Preventive | Nepolean | 2019-11-12 | - | Serviced and tested
CL555 | 2019-11-13 | Ariyamangalam | D | A side nozzle complaint | Breakdown | Nepolean | 2019-11-13 | - | Service nozzle replaced - Rectified
CL556 | 2019-11-13 | Pudukkottai | T | Decanting Liquid line ROV and ACME adapter leakage | Breakdown | Chandrasekar | 2019-11-13 | - | Leakage arrested by tightening the nut- Rectified
CL557 | 2019-11-15 | Kodumudi | T | Tank Nitrogen testing | New Project | Kathiresan | 2019-11-15 | - | Tank Nitrogen testing completed - Attended
CL558 | 2019-11-15 | Tirunelveli | R | Turbo Drive dispenser run mode not working - Only test mode is working | Breakdown | Nepolean | 2019-11-17 | - | New contactor replaced - Dispenser running fine - Rectified
CL559 | 2019-11-16 | Kodumudi | G | Mechanical work | New Project | Prabu | 2019-11-16 | - | Mechanical work completed - Electrical work is on process.
CL560 | 2019-11-16 | Ariyamangalam | R | Air Leakage at Control Room | Breakdown | Kathiresan & Thirumalaisamy | 2019-11-16 | - | 200 feet dispensing line pneumatic hose changed - Leakage arrested - Rectified
CL561 | 2019-11-17 | Tirunelveli | D | Error 39 - Occurred | Breakdown | Nepolean | 2019-11-17 | - | Software reinstalled - Rectified
CL562 | 2019-11-19 | Tirunelveli | T | STP chamber LPG leakage problem | Breakdown | Nepolean | 2019-11-19 | - | STP chamber bolt & nut tightened - Leakage arrested - Pheumatic hose 4 nos changed - Rectified
CL563 | 2019-11-20 | Tirunelveli | D | Additional dispenser installation | New Project | Chandrasekar & Gowtham | 2019-11-22 | - | Installation Completed and Stamping completed on 25.11.2019
CL564 | 2019-11-20 | Bodi | G | Site marking | New Project | Prakash | 2019-11-20 | - | Site marking completed
CL565 | 2019-11-20 | Uthamapalayam | G | Site marking | New Project | Prakash | 2019-11-20 | - | Site marking completed
CL566 | 2019-11-22 | Ariyamangalam | D | Krishnagiri nozzle servicing | Preventive | Nepolean | 2019-11-22 | - | Nozzle serviced and tested - Attended
CL567 | 2019-11-23 | Namakkal 1 | G | Unloading, Testing, Commissioning& Calibration | New Project | Prakash | 2019-11-25 | - | Unloading, Testing, Commissioning& Calibration - Completed
CL568 | 2019-11-24 | Vellakovil | D | Dispenser not working | Breakdown | Prabu | 2019-11-24 | - | 3 Pole power contactor 240VAC replaced - Working fine - Rectified
CL569 | 2019-11-28 | Cantonment | T | Unloading hose Venting line needle valve leakage | Breakdown | Chandrasekar | 2019-11-28 | - | Needle valve replaced - Rectified
CL570 | 2019-11-28 | Kodumudi | G | Electrical work | New Project | Prabu | 2019-11-28 | - | Electrical work completed
CL571 | 2019-11-29 | Kodumudi | G | Unloading, testing & Automation Installation | New Project | Chandrasekar, Prasath & Kathiresan | 2019-12-01 | - | Commissioning completed and outlet opened
CL572 | 2019-12-01 | Avinashi | D | Dispenser not working | Breakdown | Prabu | 2019-12-01 | 10 hours | Motherboard reprogramming done - Rectified
CL573 | 2019-12-04 | Ariyamangalam | D | Sulur nozzle service and testing on D side | Preventive | Nepolean | 2019-12-04 | - | D Side - Nozzle tested and serviced - Testing : 4.79L - Attended
CL574 | 2019-12-05 | Tirunelveli | C | Additional dispenser calibration | Certification | Chandrasekar & Kathiresan | 2019-12-05 | - | Both dispensers calibration completed - Attended
CL575 | 2019-12-05 | Kodumudi | T | Unloading and to check High-High, Low-Low cutoff | New Project | Prabu | 2019-12-05 | - | Unloading completed - Soft starter working fine - Attended
CL576 | 2019-12-05 | Rasipuram | D | Dispensing motor noise | Breakdown | Prabu | 2019-12-05 | - | Love jaw coupling changed - Noise arrested - Rectified
CL577 | 2019-12-06 | Udumalpet | D | Breakaway complaint and air leakage at dispensing and unloading side | Breakdown | Prabu | 2019-12-06 | - | Breakaway reassembled and new pneumatic hose connected to arrest air leakage - Rectified
CL578 | 2019-12-06 | Velachery | C | Dispenser Stamping | Certification | Suneel Sagar | 2019-12-06 | - | Stamping completed
CL579 | 2019-12-06 | Ariyamangalam | D | Avinashi - Motherboard checking | Preventive | Nepolean | 2019-12-06 | - | Motherboard checked - Attended
CL580 | 2019-12-07 | Dharapuram | D | Pulsar unit jammed | Breakdown | Prabu | 2019-12-07 | - | Pulsar box reassembled and working fine - Testing 39Ltrs - Rectifed
CL581 | 2019-12-07 | Manapparai | T | Nitrogen testing | New Project | Gowtham | 2019-12-07 | - | Nitrogen test done - Defect not found - Attended
CL582 | 2019-12-08 | Vadivelan Nagar | T | Rov leakages checking | Breakdown | Suneel Sagar | 2019-12-08 | - | Found 6 minor leakages and arrested - Working fine - Rectified
CL583 | 2019-12-08 | T.V. Kovil | D | D side nozzle leakage & unloading point ROV & Ballvalve leakage | Breakdown | Kathiresan | 2019-12-08 | - | New nozzle teeth changed & ROV - ballvalve tightened - Leakage arrested - Working fine - Rectified
CL584 | 2019-12-10 | Bhavani | C | Stamping work | Certification | Chandrasekar, Prabu & Kathiresan | 2019-12-10 | - | Stamping completed A side testing: 377.72 L; B side testing: 333.55L.
CL585 | 2019-12-10 | Rasipuram | C | Stamping work | Certification | Chandrasekar & Kathiresan | 2019-12-10 | - | Stamping completed A side testing: 276.20 L; B side testing: 268.00 L
CL586 | 2019-12-11 | Dindigul | C | Stamping work | Certification | Chandrasekar & Kathiresan | 2019-12-11 | - | Stamping completed A side testing: 489.00 L; B side testing: 482.00 L
CL587 | 2019-12-11 | Perundurai | G | Pipeline welding work | New Project | Gowtham | 2019-12-13 | - | Welding work of pipeline is completed and assembled - Attended
CL588 | 2019-12-11 | Pudukkottai | G | Genset complaint | Breakdown | Nepolean | 2019-12-11 | - | Oil service done by Genset service person - Rectified
CL589 | 2019-12-11 | Tharamangalam | T | Tank Installation | New Project | Prabu | 2019-12-11 | - | Tank Installation Completed - Attended
CL590 | 2019-12-12 | Theni | D | Metering unit not working & Pulsar box complaint | Breakdown | Nepolean | 2019-12-14 | - | Metering unit bearing and sealkit replaced & Pulsar box cable changed - Rectified
CL591 | 2019-12-12 | Avinashi | D | Dispenser spare motherboard checking and cable checking | Preventive | Prabu | 2019-12-12 | - | Motherboard checked it is working fine and keypad cable replaced - Attended
CL592 | 2019-12-13 | Hosur | A | Automation software automatically closed | Breakdown | Suresh | 2019-12-13 | - | Wamp server turned on and automation software opened - Running fine - Rectified
CL593 | 2019-12-14 | Cantonment | D | Yenen dispenser display cord problem | Breakdown | Chandrasekar | 2019-12-14 | - | Display cord replaced - Rectified
CL594 | 2019-12-16 | Vadivelan Nagar | D | C side leakage at DP valve | Breakdown | Suneel sagar | 2019-12-16 | - | DP valve union leakage arrested by servicing- Rectified
CL595 | 2019-12-17 | Mettupalayam | C | Stamping work | Certification | Chandrasekar & Kathiresan | 2019-12-17 | - | Stamping completed
CL596 | 2019-12-18 | Bodi | T | Tank Installation | New Project | Nepolean & Gowtham | 2019-12-18 | - | Tank installation completed
CL597 | 2019-12-18 | Ariyamangalam | C | Rule 19 work | Certification | Prakash | 2019-12-20 | 31 Hours | Rule 19 certification completed
CL598 | 2019-12-20 | Chengalpattu | D | Dispenser power board complaint | Breakdown | Suneel Sagar | 2019-12-20 | - | MOSFET - 2 nos changed - Rectified
CL599 | 2019-12-23 | Karur | D | Dispenser one side no flow | Breakdown | Nepolean | 2019-12-23 | - | B side solenoid coil and DP Valve cleaned - Rectified
CL600 | 2019-12-23 | Palladam | D | B side display not working | Breakdown | Nepolean | 2019-12-23 | - | Display cable changed - Working fine - Rectified
CL601 | 2019-12-24 | Attur | C | Calibration work | Certification | Kathiresan | 2019-12-24 | - | Calibration completed - Testing - 603.93Ltrs
CL602 | 2019-12-24 | Tharamangalam | T | Tank hydro test | New Project | Prabu | 2019-12-24 | - | Hydro test completed
CL603 | 2019-12-24 | Kodungaiyur | D | Decanting liquid line ROV leakage | Breakdown | Suneel Sagar | 2019-12-24 | - | Leakage arrested by tightening - Rectified
CL604 | 2019-12-25 | Rasipuram | G | Emergency switch not working | Breakdown | Prabu | 2019-12-25 | - | NC element replaced & Unloading pneumatic line replaced
CL605 | 2019-12-26 | Renganathan | D | Nozzle leakage | Breakdown | Kathiresan | 2019-12-26 | - | Nozzle serviced - Working fine - Rectified
CL606 | 2019-12-28 | Kodumudi | T | Unloading process stopped due to leakage in the Fill point Liquid Line | Breakdown | Prabu | 2019-12-29 | - | Adapter tightened with teflon tape - Leakage arrested - Rectified
CL607 | 2019-12-29 | Theni | T | Dispensing motor contactor problem | Breakdown | Chandrasekar | 2019-12-29 | - | Neutral line cut - Replaced the wire - Rectified
CL608 | 2019-12-30 | Kodungaiyur | R | Surge protector damaged due to power fluctuation | Breakdown | Suneel sagar | 2019-12-30 | - | Surge protector bypassed and waiting for the material to replace the same - Rectified
CL609 | 2019-12-30 | Ariyamangalam | D | Palladam nozzle servicing and testing | Preventive | Nepolean | 2019-12-30 | - | Nozzle serviced & Tested
CL610 | 2019-12-30 | Perundurai | G | GI Flat welding work & Pipeline laying | New Project | Thirumalaisamy | 2019-12-31 | - | Welding and pipeline laying completed - Attended